## Sample Sheet
Client:
Project Name:
Contract:
Location:
Project No.:
Date:
Tag | Equipment Description | Running time Mins
|  |  | Volts | Amps | Watts
Critical Branch
1 | Light source | 120 | 120 | 2
2 | Anesthesia Machine | 120 | 120 | 6
3 | Bovie machine (Valley Lab) | 40 | 120 |  | 800
4 | C-Arm | 60 | 120 | 6.5
5 | Portable Suction Pump | 120 | 120 | 2.5
6 | Fraxel Co2 Laser | 30 | 220 |  | 500
7 | Head lamp | 120 | 120 | 0.9
8 | Patient Monitors OR & Recovery | 120 | 120 | 1.2
Life Safety Branch
9 | Fire Alarms | 120 | 120 | 0.7
10 | Medical Gas Oxygen alarm & Controls | 120 | 120 | 1.3
11 | Egress Lighing LED | 120 | 120 |  | 500
Equipment Branch
12 | HVAC Fan | 120 | 220 | 5
13 | Compurter / Equipment | 120 | 120 |  | 3
sales@mediproducts.net - 800.765.3237

## Blank Sheet
Client:
Project Name:
Contract:
Location:
Project No.:
Date:
Tag | Equipment Description | Running time Mins
|  |  | Volts | Amps | Watts
Critical Branch
1
2
3
4
5
6
7
8
Life Safety Branch
9
10
11
12
13
14
15
Equipment Branch
16
17
18
19
sales@mediproducts.net - 800.765.3237